## Rappuset
Heading | Observation | observation_date | observation_processed_date
Water pond in the hallway | There was a small puddle of water on the floor of the packaging department, which posed a risk of slipping. | 2024-01-10 | 2024-01-11
Swinging railing on the stairs | On the metal stairs between the production facilities, the railing swayed dangerously. The fastening failed. | 2024-01-18 | 2024-01-19
Inadequate protective clothing | The employee handled the powdered substance without a respirator in a clean room. | 2024-01-25 | 2024-01-26
Stuff left on the stairs | Empty boxes had been left on the upper level of the stairs leading to the warehouse, there was a risk of tripping. | 2024-02-02 | 2024-02-03
Chemical splash on the floor | In the laboratory, there was a small amount of unknown chemicals on the floor without a warning label. | 2024-02-09 | 2024-02-10
Emergency stop button covered | In front of the emergency stop button on the mixer unit, there was a movable trolley that prevented quick operation. | 2024-02-16 | 2024-02-17
Slippery step | One of the steps leading to the service platform was dangerously slippery. | 2024-02-23 | 2024-02-24
Heavy lifting without aids | The warehouse worker lifted the heavy bag of raw materials alone without a lifting aid. | 2024-03-01 | 2024-03-02
Fire corridor blocked | In front of the emergency exit, there was a pallet full of cardboard waste, which narrowed the passageway. | 2024-03-08 | 2024-03-09
Broken socket | The casing of the socket in the dressing room was cracked, risk of electric shock. | 2024-03-15 | 2024-03-16
Inadequate lighting on the stairs | The lighting in the stairwell leading to the basement was inadequate, one lamp was burnt out. | 2024-03-22 | 2024-03-23
Sharp edge at the workstation | The metal worktop of the packaging line had a sharp edge that you could hurt yourself on. | 2024-03-29 | 2024-03-30
Tools on the floor | After the maintenance work, a wrench and screwdrivers had been left on the floor. | 2024-04-05 | 2024-04-06
Liquid splash on the stairs | Coffee had spilled on the stairs leading to the break room, causing a slipping hazard. | 2024-04-12 | 2024-04-13
Dust accumulated in the electrical cabinet | A lot of dust had accumulated inside the old electrical cabinet of the production facility, a risk of fire. | 2024-04-19 | 2024-04-20
Incorrect waste sorting | Reactive chemical waste had been placed in a normal laboratory waste container. | 2024-04-26 | 2024-04-27
An employee ran up the stairs | The employee was observed running down the stairs on the office floor. | 2024-05-03 | 2024-05-04
Gas cylinders without support | The gas cylinders in the laboratory stood freely against the wall without a chain or rack. | 2024-05-10 | 2024-05-11
Shelf overloaded | The storage shelf had more stuff stacked than its weight limit allowed. | 2024-05-17 | 2024-05-18
Worn floor covering | The floor covering in the cleanroom was worn out, making cleaning difficult and causing a tripping hazard. | 2024-05-24 | 2024-05-25
The anti-slip stair has come loose | The anti-slip tape had come off the edge of the staircase leading to the front door and was torn. | 2024-05-31 | 2024-06-01
Damaged extension cord | The insulation of the office extension cord had cracked, exposing internal wires. | 2024-06-07 | 2024-06-10
The liquid in the eyewash bottle has expired | The eyewash bottle at the emergency shower station had expired. | 2024-06-14 | 2024-06-15
A forklift was speeding | In the warehouse area, the forklift driver drove clearly over the permitted speed limit. | 2024-06-21 | 2024-06-24
Carrying a big box up the stairs | The employee was carrying a large box that completely blocked the view when going up the stairs. | 2024-06-28 | 2024-07-01
Incomplete safety data sheets | The safety data sheet for the new chemical could not be found at the workstation. | 2024-07-05 | 2024-07-08
Air conditioning duct leaks condensate | An air conditioning duct in the ceiling of the corridor dripped condensate onto the floor. | 2024-07-12 | 2024-07-15
Muffler disconnected from the machine | The muffler had come loose from the compressed air device, causing a lot of noise. | 2024-07-19 | 2024-07-22
Pharmaceutical dust on surfaces | Pharmaceutical dust had remained on the surfaces of the weighing room after cleaning. | 2024-07-26 | 2024-07-29
Dim lighting in the warehouse | At the back of the warehouse, the lighting was so dim that it was difficult to read the labels of the products. | 2024-08-02 | 2024-08-05
Garbage left on the stairs | There was rubbish and empty coffee cups on the stairs of the break room. | 2024-08-09 | 2024-08-12
A heavy object on the edge of the shelf | On a high storage shelf, there was a heavy box dangerously close to the edge. | 2024-08-16 | 2024-08-19
The door slams shut | The door of the production facility slammed slammed shut, risk of crushing. | 2024-08-23 | 2024-08-26
Floor hatch poorly marked | The floor hatch was open due to maintenance work, but there were no proper warning markings around it. | 2024-08-30 | 2024-09-02
Cable in the walkway | A charging cable had been pulled across the office corridor, a tripping hazard. | 2024-09-06 | 2024-09-09
Protective gloves broken | The employee wore broken protective gloves when handling the corrosive substance. | 2024-09-13 | 2024-09-16
Swinging stair railing | The railing of the stairs at the main entrance swayed and gave way when leaning. | 2024-09-20 | 2024-09-23
The crane safety limit does not work | The upper limit sensor of the production overhead crane did not work, causing a collision hazard. | 2024-09-27 | 2024-09-30
Broken glass on the floor | In the laboratory, a beaker glass had fallen and shards had spread over a wide area. | 2024-10-04 | 2024-10-07
Hand washing station soap out of stock | When entering the cleanroom, the soap dispenser at the hand washing station was empty. | 2024-10-11 | 2024-10-14
Slippery outdoor staircase in the rain | The factory's exterior stairs were very slippery in the rain, no roughening. | 2024-10-18 | 2024-10-21
Emergency exit locked | One of the emergency exits was locked with a key from the inside. | 2024-10-25 | 2024-10-28
Falling objects from the shelf | The vibration caused small items to fall off the shelf near the production line. | 2024-11-01 | 2024-11-04
Wet rag on the stairs | The cleaner had left a wet rag to dry on top of the stair railing, from where it had fallen onto the step. | 2024-11-08 | 2024-11-11
Inadequate ergonomics in the packing room | The work surface on the packaging line was too low, causing the workers to stooped over their working position. | 2024-11-15 | 2024-11-18
Missing warning sign | There was no sign warning about the wet floor after cleaning. | 2024-11-22 | 2024-11-25
Staircase step broken | One of the steps on the concrete stairs was chipped, with a sharp edge and a pit. | 2024-11-29 | 2024-12-02
Noisy device | One of the machines on the production line made an exceptionally loud, hissing noise. | 2024-12-06 | 2024-12-09
Icicles on the edge of the roof | Large icicles hung above the main entrance, danger of falling. | 2024-12-13 | 2024-12-16
An employee was talking on a mobile phone on the stairs | The employee walked down the stairs while looking at the phone screen, distracted. | 2024-12-20 | 2024-12-23

## Korjauspyyntö
Heading | Observation | observation_date | observation_processed_date
Leaking faucet | The tap in the washbasin in the break room is dripping slowly. Does not cause water damage or slipping hazard, but consumes water. | 2024-01-09 | 2024-01-11
Cable in the walkway | A temporary network cable installed by IT support ran across the office corridor, causing a tripping hazard. | 2024-01-16 | 2024-01-17
Shelf overloaded | Too many boxes were visually stacked on the shelf in the dispatch room, which poses a risk of the shelf collapsing. | 2024-01-23 | 2024-01-25
Replacing a burnt-out bulb | One of the many lamps in the storage corridor had burned out. The lighting in the area was still adequate, but weakened. | 2024-01-30 | 2024-02-01
Chemical splash on the floor | There was a small amount of unknown liquid on the floor of the laboratory without warning markings. | 2024-02-06 | 2024-02-07
Emergency exit partially blocked | A pallet full of raw materials had been left in front of the emergency exit, narrowing the passage significantly. | 2024-02-13 | 2024-02-14
Worn chair upholstery | The upholstery of the seat of the office office chair is frayed. Only an aesthetic nuisance. | 2024-02-20 | 2024-02-22
Inadequate use of protective clothing | An employee was moving an asthma-causing substance in a cleanroom without an appropriate respirator. | 2024-02-27 | 2024-02-28
Scratch on the wall | The forklift has hit the wall and caused a deep scratch on the wall surface of the corridor. Only cosmetic damage. | 2024-03-05 | 2024-03-07
Open switchboard | The door of the electrical center in the service room had been left open, leaving the live parts touchable. | 2024-03-12 | 2024-03-13
The locker door does not lock | The door of one of the wardrobes in the dressing room does not lock properly. Does not pose a safety risk. | 2024-03-19 | 2024-03-21
Heavy lifting without aids | An employee lifted a 25 kg sack from the floor alone without a lifting aid, a clear ergonomic risk. | 2024-03-26 | 2024-03-27
Trash bin full | The paper collection container in the break room is full. It does not cause danger, but it is untidy. | 2024-04-02 | 2024-04-04
Sharp edge on the machine guard | The protective cover of the tableting machine had a sharp edge, which causes a risk of cuts during maintenance work. | 2024-04-09 | 2024-04-10
Eyewash bottle inspection outdated | The inspection date of the laboratory's emergency shower eyewash bottle had expired. | 2024-04-16 | 2024-04-17
Dust on top of the shelf | Dust has accumulated on top of the high storage shelf. Does not pose a risk of product contamination or any other risk. | 2024-04-23 | 2024-04-25
Gas cylinders stored incorrectly | The compressed air bottles stood on the wall of the warehouse without chain fastening, risk of tipping over. | 2024-04-30 | 2024-05-02
Damaged forklift fork | The tip of the fork of one of the warehouse trucks was bent, which can cause unstable pallets and a risk of falling. | 2024-05-07 | 2024-05-08
Warning sign faded | The warning sign indicating a wet floor was so faded that the text could no longer be clearly distinguished. | 2024-05-14 | 2024-05-15
The window won't open | The mechanism of the ventilation window in the conference room is stuck. Not a safety risk, but hinders ventilation. | 2024-05-21 | 2024-05-23
Missing machine guard | The mixer shaft lacked a guard, which creates a risk of getting caught when the machine is running. | 2024-05-28 | 2024-05-29
Incorrectly sorted waste | Sharp laboratory material (needles) had been placed in the ordinary mixed waste. | 2024-06-04 | 2024-06-05
Hand paper at the end | The hand paper dispenser in the toilet facilities was empty. | 2024-06-11 | 2024-06-13
Slippery floor at the entrance | Due to the rainy weather, the floor of the main entrance was dangerously slippery, and there were not enough drying mats. | 2024-06-18 | 2024-06-19
Noisy air conditioner | The office air conditioner made a loud, disturbing noise. It does not indicate a breakage, but it is a nuisance. | 2024-06-25 | 2024-06-27
Crack in the floor tile | There was a crack in the concrete floor of the warehouse aisle, which, however, did not pose a tripping hazard. | 2024-07-02 | 2024-07-04
The smoke alarm flashes red | A smoke alarm on the ceiling of the hallway flashed a red light, indicating a low battery or malfunction. | 2024-07-09 | 2024-07-10
Computer screen too low | At the workstation, the employee's screen was too low, which caused a poor ergonomic posture. | 2024-07-16 | 2024-07-18
The sewer of the water supply smells | The drain in the break room smelled bad. Most likely, it only requires cleaning. | 2024-07-23 | 2024-07-25
Crane inspection late | The statutory periodic inspection of the production overhead crane was two weeks late. | 2024-07-30 | 2024-07-31
Frozen emergency exit | In the winter, one of the emergency exits on the yard side had frozen shut and would not open. | 2024-08-06 | 2024-08-07
Dusty ventilation valve | The ventilation valve in the office was very dusty. Affects air quality, but is not an immediate danger. | 2024-08-13 | 2024-08-15
Damaged fire extinguisher | The pressure gauge of the powder extinguisher was red and the hose was broken. | 2024-08-20 | 2024-08-21
Tool dropped on the floor | The maintenance man had dropped the hammer on a high service platform, from where it could have fallen down. | 2024-08-27 | 2024-08-28
There is no guide sign | The route of the new premises had not yet been signposted, causing people to get lost. | 2024-09-03 | 2024-09-05
Automatic door closes too quickly | The automatic door in the entrance hall closed so quickly that it caused a risk of crushing. | 2024-09-10 | 2024-09-11
Hand sanitizer at the end | The hand sanitizer dispenser at the entrance to the cleanrooms was empty. | 2024-09-17 | 2024-09-19
Broken pallet trolley | The pump mechanism of one of the pallet trucks did not work properly, which made lifting the load difficult and unstable. | 2024-09-24 | 2024-09-25
Wall clock stopped | The wall clock in the break room had stopped. Only a nuisance, not a danger. | 2024-10-01 | 2024-10-03
Icicle at risk of falling | A large icicle hung above the main door, threatening to fall into the passage. | 2024-10-08 | 2024-10-09
Faulty Production Machine Sensor | The machine's safety sensor constantly gave error alarms, which led to it being overtaken by workers. | 2024-10-15 | 2024-10-16
Leaking compressed air hose | The compressed air hose leaked from its connector, causing hissing and energy loss. No immediate danger. | 2024-10-22 | 2024-10-24
Dim lighting between shelves | It was so dim in one of the shelves in the warehouse that it was difficult to read the product labels. | 2024-10-29 | 2024-10-30
Clogged floor drain | The floor drain in the cleaning area was clogged, which caused water to accumulate on the floor and a risk of slipping. | 2024-11-05 | 2024-11-06
Door pump broken | The heavy fire door was slammed shut with force because the door retarder was broken. Risk of crushing. | 2024-11-12 | 2024-11-13
Expired batteries in the device | The rarely used measuring device had expired batteries. No danger, but prevents the use of the device. | 2024-11-19 | 2024-11-21
Unclear markings on the chemical bottle | The label on the laboratory reagent bottle was so worn that the contents could not be ascertained. | 2024-11-26 | 2024-11-27
Parking space too narrow | One of the parking spaces was painted too narrow, which made it difficult to get out of the car. | 2024-12-03 | 2024-12-05
Broken keyboard | The shared office keyboard did not register all keystrokes. Ergonomic disadvantage and retardation. | 2024-12-10 | 2024-12-12
Emergency shower testing neglected | The weekly emergency shower testing had not been carried out as scheduled. | 2024-12-17 | 2024-12-18

## Kiire
Heading | Observation | observation_date | observation_processed_date
Heavy lifting without aids | A warehouse worker lifted a 25 kg sack from the floor alone without a lifting aid, a clear ergonomic risk. | 2024-03-01 | 2024-03-04
Emergency stop button covered | In a hurry, the worker moved the wagon in front of the production line's emergency stop button, preventing it from being used. | 2024-03-02 | 2024-03-04
Scratch on the wall | The forklift has hit the wall and caused a deep scratch on the wall surface of the corridor. Only cosmetic damage. | 2024-03-02 | 2024-03-05
Smoke alarm battery out | The smoke alarm in the break room beeped sparsely, indicating that the battery was running out. | 2024-03-03 | 2024-03-04
Chemical splash on the floor | In the laboratory, a small amount of solvent had been spilled on the floor in a hurry, which had not been cleaned or marked. | 2024-03-04 | 2024-03-05
Fire corridor partially blocked | The pallet truck had been left in a hurry in a narrow fire corridor, which made it difficult to move around and prevented a quick exit. | 2024-03-04 | 2024-03-05
Leaking compressed air hose | The compressed air hose leaked from its connector, causing hissing and energy loss. No immediate danger. | 2024-03-05 | 2024-03-06
Open switchboard | The door of the electrical center in the service room had been left open, leaving the live parts touchable. | 2024-03-05 | 2024-03-06
Inadequate use of protective equipment | The employee went 'just quickly' to get a sample from the powder handling room without the required respirator. | 2024-03-06 | 2024-03-07
The locker door does not lock | The door of one of the wardrobes in the dressing room does not lock properly. Does not pose a safety risk. | 2024-03-06 | 2024-03-07
Tools left on top of the machine | At the end of a busy working day, the caretaker had left a wrench on the mixer unit, from where it could have fallen off when the machine started. | 2024-03-07 | 2024-03-08
Inadequate lighting on the stairs | The lighting in the stairwell leading to the basement was inadequate, one lamp was burnt out. | 2024-03-07 | 2024-03-08
Adjustment in production mode | The employee took a shortcut across the forklift route from outside the marked routes to save time. | 2024-03-08 | 2024-03-11
An employee ran in the corridor | An employee ran in the production corridor to get to the next work phase, which caused a collision hazard. | 2024-03-08 | 2024-03-11
Sharp edge at the workstation | The metal worktop of the packaging line had a sharp edge that you could hurt yourself on. | 2024-03-09 | 2024-03-11
Incomplete documentation | The batch's manufacturing documentation was hastily filled out and lacked critical signatures and values. | 2024-03-10 | 2024-03-11
Trash bin full | The paper collection container in the break room is full. It does not cause danger, but it is untidy. | 2024-03-11 | 2024-03-12
Gas cylinders without support | The gas cylinders in the laboratory stood freely against the wall without a chain or rack. | 2024-03-11 | 2024-03-12
Sample container left open | In a hurry, the employee left a sample container containing the active substance open on the table, causing a risk of exposure and contamination. | 2024-03-12 | 2024-03-13
Faulty pallet trolley | The pump mechanism of one of the pallet trucks did not work properly, which made it difficult to lift the load. | 2024-03-12 | 2024-03-13
Stuff left in front of the emergency shower | The employee had momentarily left a trolley full of stuff directly in front of the emergency shower. | 2024-03-13 | 2024-03-14
Worn floor covering | The floor covering in the cleanroom was worn out, making cleaning difficult and causing a tripping hazard. | 2024-03-13 | 2024-03-14
Cleaning neglected in a hurry | The cleaning of the weighing room had been done hastily at the end of the shift, and there were clearly powder residues on the surfaces. | 2024-03-14 | 2024-03-15
Damaged extension cord | The insulation of the office extension cord had cracked, exposing internal wires. | 2024-03-14 | 2024-03-15
The liquid in the eyewash bottle has expired | The eyewash bottle at the emergency shower station had expired. | 2024-03-15 | 2024-03-18
A forklift was speeding | In the warehouse area, the forklift driver drove clearly over the permitted speed limit in order to catch up on schedule. | 2024-03-15 | 2024-03-18
Hand washing station soap out of stock | When entering the cleanroom, the soap dispenser at the hand washing station was empty. | 2024-03-16 | 2024-03-18
False alarm acknowledged | The reactor pressure alarm was dismissed without checking the reason because 'it always does it'. Hurry to continue the process. | 2024-03-17 | 2024-03-18
Broken glass on the floor | In the laboratory, a beaker glass had fallen and shards had spread over a wide area. | 2024-03-18 | 2024-03-19
Working without gloves | The employee handled 'only one' sample without protective gloves because she was in a hurry. | 2024-03-18 | 2024-03-19
Swinging railing on the stairs | On the metal stairs between the production facilities, the railing swayed dangerously. | 2024-03-19 | 2024-03-20
Stuff left on the stairs | Empty boxes had been left on the upper level of the stairs leading to the warehouse in a hurry. | 2024-03-19 | 2024-03-20
Noisy device | One of the machines on the production line made an exceptionally loud, hissing noise. | 2024-03-20 | 2024-03-21
Crane safety limit passed | The worker passed the crane's safety limit to get the load into place faster. | 2024-03-20 | 2024-03-21
The door slams shut | The door of the production facility slammed slammed shut, risk of crushing. | 2024-03-21 | 2024-03-22
Floor hatch poorly marked | The floor hatch was open due to maintenance work, but there were no proper warning markings around it. | 2024-03-21 | 2024-03-22
Cable in the walkway | A charging cable had been pulled across the office corridor, a tripping hazard. | 2024-03-22 | 2024-03-25
Safety glasses fogged up | The employee had put the fogged goggles on his forehead in the middle of the work because he could not see properly and was in a hurry to finish the work. | 2024-03-22 | 2024-03-25
Shelf overloaded | The storage shelf had more stuff stacked than its weight limit allowed. | 2024-03-23 | 2024-03-25
Emergency exit locked | One of the emergency exits was locked with a key from the inside. | 2024-03-24 | 2024-03-25
Falling objects from the shelf | The vibration caused small items to fall off the shelf near the production line. | 2024-03-25 | 2024-03-26
Incorrect batch number posted | In a hurry, the employee had entered the batch number of the wrong starting material in the production documentation. | 2024-03-25 | 2024-03-26
Inadequate ergonomics in the packing room | The work surface on the packaging line was too low, causing the workers to stooped over their working position. | 2024-03-26 | 2024-03-27
Missing warning sign | There was no sign warning about the wet floor after cleaning. | 2024-03-26 | 2024-03-27
Staircase step broken | One of the steps on the concrete stairs was chipped, with a sharp edge and a pit. | 2024-03-27 | 2024-03-28
Machine cleaning skipped | During the shift change, the intermediate cleaning of the machine was not done due to haste, causing a risk of cross-contamination. | 2024-03-27 | 2024-03-28
Icicles on the edge of the roof | Large icicles hung above the main entrance, danger of falling. | 2024-03-28 | 2024-03-29
An employee was talking on a mobile phone on the stairs | The employee walked down the stairs while looking at the phone screen, distracted. | 2024-03-28 | 2024-03-29
Slippery outdoor staircase in the rain | The factory's exterior stairs were very slippery in the rain, no roughening. | 2024-03-29 | 2024-04-01
Security fence door left open | The door of the security fence leading to the robot cell had been left open because 'you just had to go there quickly'. | 2024-03-29 | 2024-04-01
A heavy object on the edge of the shelf | On a high storage shelf, there was a heavy box dangerously close to the edge. | 2024-03-30 | 2024-04-01
Faulty fire extinguisher | The pressure gauge of the powder extinguisher was red. | 2024-03-30 | 2024-04-01
Chemical container without label | The chemical container brought in for weighing was without the appropriate label. | 2024-03-31 | 2024-04-01
Connection made in a hurry | The electrician made the temporary connection in a hurry and left it undocumented and unmarked. | 2024-03-31 | 2024-04-01

## Käsittelyaika
Heading | Observation | observation_date | observation_processed_date
Water pond in the hallway | There was a small puddle of water on the floor of the packaging department, which posed a risk of slipping. | 2024-01-10 | 2024-01-11
Swinging railing on the stairs | On the metal stairs between the production facilities, the railing swayed dangerously. The fastening failed. | 2024-01-18 | 2024-01-25
Inadequate protective clothing | The employee handled the powdered substance without a respirator in a clean room. | 2024-01-25 | 2024-01-26
Stuff left on the stairs | Empty boxes had been left on the upper level of the stairs leading to the warehouse, there was a risk of tripping. | 2024-02-02 | 2024-02-03
Chemical splash on the floor | In the laboratory, there was a small amount of unknown chemicals on the floor without a warning label. | 2024-02-09 | 2024-02-10
Emergency stop button covered | In front of the emergency stop button on the mixer unit, there was a movable trolley that prevented quick operation. | 2024-02-16 | 2024-02-17
Slippery step | One of the steps leading to the service platform was dangerously slippery. | 2024-02-23 | 2024-03-04
Heavy lifting without aids | The warehouse worker lifted the heavy bag of raw materials alone without a lifting aid. | 2024-03-01 | 2024-03-04
Fire corridor blocked | In front of the emergency exit, there was a pallet full of cardboard waste, which narrowed the passageway. | 2024-03-08 | 2024-03-09
Broken socket | The casing of the socket in the dressing room was cracked, risk of electric shock. | 2024-03-15 | 2024-03-19
Inadequate lighting on the stairs | The lighting in the stairwell leading to the basement was inadequate, one lamp was burnt out. | 2024-03-22 | 2024-03-25
Sharp edge at the workstation | The metal worktop of the packaging line had a sharp edge that you could hurt yourself on. | 2024-03-29 | 2024-04-02
Tools on the floor | After the maintenance work, a wrench and screwdrivers had been left on the floor. | 2024-04-05 | 2024-04-06
Liquid splash on the stairs | Coffee had spilled on the stairs leading to the break room, causing a slipping hazard. | 2024-04-12 | 2024-04-13
Dust accumulated in the electrical cabinet | A lot of dust had accumulated inside the old electrical cabinet of the production facility, a risk of fire. | 2024-04-19 | 2024-04-22
Incorrect waste sorting | Reactive chemical waste had been placed in a normal laboratory waste container. | 2024-04-26 | 2024-04-29
An employee ran up the stairs | The employee was observed running down the stairs on the office floor. | 2024-05-03 | 2024-05-06
Gas cylinders without support | The gas cylinders in the laboratory stood freely against the wall without a chain or rack. | 2024-05-10 | 2024-05-13
Shelf overloaded | The storage shelf had more stuff stacked than its weight limit allowed. | 2024-05-17 | 2024-05-20
Worn floor covering | The floor covering in the cleanroom was worn out, making cleaning difficult and causing a tripping hazard. | 2024-05-24 | 2024-06-14
The anti-slip stair has come loose | The anti-slip tape had come off the edge of the staircase leading to the front door and was torn. | 2024-05-31 | 2024-06-03
Damaged extension cord | The insulation of the office extension cord had cracked, exposing internal wires. | 2024-06-07 | 2024-06-10
The liquid in the eyewash bottle has expired | The eyewash bottle at the emergency shower station had expired. | 2024-06-14 | 2024-06-17
A forklift was speeding | In the warehouse area, the forklift driver drove clearly over the permitted speed limit. | 2024-06-21 | 2024-06-24
Carrying a big box up the stairs | The employee was carrying a large box that completely blocked the view when going up the stairs. | 2024-06-28 | 2024-07-01
Incomplete safety data sheets | The safety data sheet for the new chemical could not be found at the workstation. | 2024-07-05 | 2024-07-09
Air conditioning duct leaks condensate | An air conditioning duct in the ceiling of the corridor dripped condensate onto the floor. | 2024-07-12 | 2024-07-19
Muffler disconnected from the machine | The muffler had come loose from the compressed air device, causing a lot of noise. | 2024-07-19 | 2024-07-22
Pharmaceutical dust on surfaces | Pharmaceutical dust had remained on the surfaces of the weighing room after cleaning. | 2024-07-26 | 2024-07-29
Dim lighting in the warehouse | At the back of the warehouse, the lighting was so dim that it was difficult to read the labels of the products. | 2024-08-02 | 2024-08-06
Garbage left on the stairs | There was rubbish and empty coffee cups on the stairs of the break room. | 2024-08-09 | 2024-08-12
A heavy object on the edge of the shelf | On a high storage shelf, there was a heavy box dangerously close to the edge. | 2024-08-16 | 2024-08-19
The door slams shut | The door of the production facility slammed slammed shut, risk of crushing. | 2024-08-23 | 2024-08-28
Floor hatch poorly marked | The floor hatch was open due to maintenance work, but there were no proper warning markings around it. | 2024-08-30 | 2024-09-02
Cable in the walkway | A charging cable had been pulled across the office corridor, a tripping hazard. | 2024-09-06 | 2024-09-09
Protective gloves broken | The employee wore broken protective gloves when handling the corrosive substance. | 2024-09-13 | 2024-09-16
Swinging stair railing | The railing of the stairs at the main entrance swayed and gave way when leaning. | 2024-09-20 | 2024-09-27
The crane safety limit does not work | The upper limit sensor of the production overhead crane did not work, causing a collision hazard. | 2024-09-27 | 2024-10-07
Broken glass on the floor | In the laboratory, a beaker glass had fallen and shards had spread over a wide area. | 2024-10-04 | 2024-10-07
Hand washing station soap out of stock | When entering the cleanroom, the soap dispenser at the hand washing station was empty. | 2024-10-11 | 2024-10-14
Slippery outdoor staircase in the rain | The factory's exterior stairs were very slippery in the rain, no roughening. | 2024-10-18 | 2024-10-21
Emergency exit locked | One of the emergency exits was locked with a key from the inside. | 2024-10-25 | 2024-10-28
Falling objects from the shelf | The vibration caused small items to fall off the shelf near the production line. | 2024-11-01 | 2024-11-04
Wet rag on the stairs | The cleaner had left a wet rag to dry on top of the stair railing, from where it had fallen onto the step. | 2024-11-08 | 2024-11-11
Inadequate ergonomics in the packing room | The work surface on the packaging line was too low, causing the workers to stooped over their working position. Requires a more extensive investigation and possibly redesign of the workstation. | 2024-11-15 | 2024-12-16
Missing warning sign | There was no sign warning about the wet floor after cleaning. | 2024-11-22 | 2024-11-25
Staircase step broken | One of the steps on the concrete stairs was chipped, with a sharp edge and a pit. Requires concrete repair. | 2024-11-29 | 2024-12-11
Noisy device | One of the machines on the production line made an exceptionally loud, hissing noise. Requires maintenance, examination and possibly a spare parts order. | 2024-12-06 | 2024-12-18
Icicles on the edge of the roof | Large icicles hung above the main entrance, danger of falling. | 2024-12-13 | 2024-12-16
An employee was talking on a mobile phone on the stairs | The employee walked down the stairs while looking at the phone screen, distracted. | 2024-12-20 | 2024-12-23
Faulty ventilation in the cleanroom | The ventilation in the cleanroom did not work properly, which compromises the quality of the product and the safety of the personnel. Requires an examination by an HVAC expert. | 2024-12-22 | 2025-01-15

## Sähköturvallisuus
Heading | Observation | observation_date | observation_date2
The warning sign is missing from the electrical cabinet | The door of the electrical cabinet is completely missing a warning marking. The locker is located in a public passage area. | 2025-01-15 | 2025-01-16
Water leaked from the coffee machine | Water had leaked directly onto the floor on the lower level of the coffee machine in the office space. I also noticed that liquid had been splashed near the electrical outlet, which posed a potential safety risk. | 2024-11-28 | 2024-11-29
Socket at the front door in a dangerous space | The socket at the front door was hanging right on the floor and was partially broken. Potential risk of electric shock, especially during rain. | 2024-10-12 | 2024-10-14
An extension cord runs across the hallway | In the office corridor, an extension cord had been pulled across the floor between two workstations. Tripping hazard and risk of damage to the cord. | 2024-09-23 | 2024-09-24
Electrical cabinet open in the production area | The electrical distribution cabinet in the production facility had been left open unattended. There were no warning labels or protection in the cabinet. | 2025-02-03 | 2025-02-03
Damaged electrical cord | A damaged electrical cable was found in the warehouse, the insulation of which had worn out in several places, with the exposed wires visible. | 2024-12-17 | 2024-12-18
Overloading the socket | One socket had six devices connected through a branch plug. Overload risk and fire hazard. | 2024-08-09 | 2024-08-11
Wet floor near electrical appliances | After the cleaning work, the floor was wet in the immediate vicinity of electrical outlets and appliances. | 2024-11-05 | 2024-11-05
Broken light switch | The light switch hung off the wall and the insides were visible. Risk of electric shock. | 2025-01-22 | 2025-01-23
Damaged power cord | The insulation of the power cable of the production equipment had cracked in several places, exposing the metal conductor. | 2024-10-30 | 2024-10-31
Power tools on wet floors | Battery-powered power tools had been left on the floor next to a wet area at the loading dock door. | 2024-07-18 | 2024-07-19
Residual current device is missing | The socket for outdoor use lacked a residual current device, even though it is mandatory for outdoor use. | 2024-09-14 | 2024-09-16
Inadequate fastening of the electrical cable | The electric cable hanging from the ceiling was attached at only one point and swayed dangerously. | 2025-02-11 | 2025-02-11
Unattended charging area | There were several devices in the battery charging area charging overnight without supervision or fire safety equipment. | 2024-12-03 | 2024-12-04
Goods in front of the main switchboard | Goods had been stored in front of the main switchboard, which prevented access in an emergency. | 2024-08-27 | 2024-08-28
Damaged extension cord in use | An extension cord was used, the insulation of which was clearly damaged and the cord had been repaired with tape. | 2024-11-19 | 2024-11-20
Humidity in the electrical cabinet | Moisture and rust marks were detected in the electrical cabinet in the basement. | 2025-01-08 | 2025-01-09
Using electrical appliances outdoors in the rain | A person operated a power tool outdoors in heavy rain without proper protection. | 2024-10-05 | 2024-10-06
Socket cover broken | The protective cover of the workstation socket was cracked and the internal parts were partially visible. | 2024-09-02 | 2024-09-03
UPS Device Warns of Fault | The UPS device in the server room gave a continuous warning sound, but the device had not been serviced. | 2024-12-29 | 2024-12-30
Electrical cabinet unlocked | The electrical distribution cabinet in the production facility was unlocked, even though it should be locked to prevent unauthorized access. | 2025-02-18 | 2025-02-18
Wrong plug in use | The appliance had the wrong type of plug that did not fit properly into the socket. | 2024-07-25 | 2024-07-26
Electrical work without a permit | It was noticed that the person was doing electrical installation work without the appropriate permit or qualifications. | 2024-08-16 | 2024-08-17
Indoor generator | The backup power generator was placed indoors without adequate ventilation. | 2024-11-11 | 2024-11-12
Electrical equipment cord pinched | Under the heavy shelf, the power cord of electrical appliances was pinched. | 2024-10-22 | 2024-10-23
Removing the lamp cover | The protective cover of the ceiling lamp was detached and hanging from wires. | 2025-01-29 | 2025-01-30
Engine overheated | The electric motor of the production unit was overheated and smelled of burnt smell. | 2024-09-28 | 2024-09-29
Electrical panel markings are missing | The electrical panel lacked all markings, so it was impossible to identify the fuses and switches. | 2024-12-22 | 2024-12-23
Plug contact surfaces visible | The plastic casing of the plug was cracked and the metal contact surfaces were partially visible. | 2025-02-05 | 2025-02-06
Temporary electrical installation remains permanent | The electrical installation, which was intended to be temporary, had been in use for more than a year without an official inspection. | 2024-08-03 | 2024-08-05
Electrical appliances in dusty environments | The electrical equipment was in a very dusty environment without proper protection. | 2024-11-02 | 2024-11-03
Unplug the ground wire | The ground wire of the device was disconnected from the connection point. | 2024-10-18 | 2024-10-19
Electrical cabinet rusted | The outdoor electrical distribution cabinet was badly rusted and its seals were broken. | 2025-01-12 | 2025-01-13
Lamps flicker | The lights in the office space are constantly flickering, which indicates an electrical problem. | 2024-09-07 | 2024-09-08
Charging batteries in an unsafe space | Lithium batteries were charged in a storage facility without fire safety equipment or supervision. | 2024-12-10 | 2024-12-11
Neglected maintenance of electrical equipment | The scheduled maintenance of the production equipment was delayed by three months. | 2024-07-30 | 2024-07-31
Insufficient number of sockets | There were too few sockets at the workstation, which led to the chaining of the splitters. | 2024-11-24 | 2024-11-25
The route of the electric cable is dangerous | The electric cable ran across the forklift aisle without protection. | 2025-02-14 | 2025-02-14
Water dripping from the lamp | Water was dripping from the ceiling lamp, which indicates a water leak and an electrical safety risk. | 2024-10-09 | 2024-10-10
Emergency stop button covered | The plane's emergency stop button was partially covered with items. | 2024-08-21 | 2024-08-22
The electric motor makes abnormal noises | The electric motor of the production unit made an abnormal noise, which may indicate a fault. | 2024-12-15 | 2024-12-16
Socket installation incorrect | The new socket had been installed incorrectly and it was loose in the wall. | 2025-01-25 | 2025-01-26
Electrical appliances too close to a water source | The electrical appliances had been placed too close to the water point without observing safety distances. | 2024-09-19 | 2024-09-20
Cable channel full | The cable duct was full of wires, which could cause overheating. | 2024-11-08 | 2024-11-09
Using a power tool without training | The person used a power tool for which he was not trained. | 2024-10-26 | 2024-10-27
Lamp attachment is weak | The attachment of the work lamp was weak and the lamp wobbled dangerously. | 2025-02-08 | 2025-02-09
Instructions for using electrical appliances are missing | The new electrical appliances lacked instructions for use and safety markings in Finnish. | 2024-12-01 | 2024-12-02
The residual current device trips repeatedly | The residual current device in a certain area trips repeatedly, indicating a problem with the power grid. | 2024-08-12 | 2024-08-13
Electrical panel ventilation blocked | The ventilation holes of the electrical panel were blocked with dust and dirt. | 2024-11-16 | 2024-11-17
Portable charger cord damaged | The laptop charger cord was badly damaged and the internal wires were visible. | 2025-01-19 | 2025-01-20

## Lokaatio
Heading | Observation | observation_date | observation_processed_date
Damaged electrical cord | A damaged electrical cable was found in the warehouse, the insulation of which had worn out in several places, with the exposed wires visible. | 2024-12-17 | 2024-12-18
Unattended charging area | There were several devices in the battery charging area charging overnight without supervision or fire safety equipment. | 2024-12-03 | 2024-12-04
UPS Device Warns of Fault | The UPS device in the server room gave a continuous warning sound, but the device had not been serviced. | 2024-12-29 | 2024-12-30
Electrical panel markings are missing | The electrical panel lacked all markings, so it was impossible to identify the fuses and switches. | 2024-12-22 | 2024-12-23
Charging batteries in an unsafe space | Lithium batteries were charged in a storage facility without fire safety equipment or supervision. | 2024-12-10 | 2024-12-11
The electric motor makes abnormal noises | The electric motor of the production unit made an abnormal noise, which may indicate a fault. | 2024-12-15 | 2024-12-16
Instructions for using electrical appliances are missing | The new electrical appliances lacked instructions for use and safety markings in Finnish. | 2024-12-01 | 2024-12-02
Stair railing wobbles | The stair railing has detached from its fastener and wobbles when used. | 2024-12-05 | 2024-12-06
Wet floor in the hallway | A large and slippery puddle of water was noticed on the floor of the corridor. It is likely that water has leaked from the outdoor shoes. | 2024-12-11 | 2024-12-12
Trash bin full | The trash can in the hallway was so full that the trash spilled over the edges. | 2024-12-08 | 2024-12-09
Untidy workstation on the production line | Extra items, tools and materials had accumulated at the workstation. The passage had narrowed and the risk of tripping had increased. | 2024-12-19 | 2024-12-20
Cold chain broken | The material delivered to the refrigerator had been left in the warm space of the arrival pier for an unknown period of time before being stored. | 2024-12-27 | 2024-12-28
Freezer door ajar | The freezer door had been left ajar, which caused energy loss and possible temperature fluctuations. | 2024-12-14 | 2024-12-15
Hand towel on the floor | There was a hand towel on the floor of the hand washing station that had fallen off the hook. | 2024-12-02 | 2024-12-02
First aid cabinet incomplete | I checked the contents of the first aid cabinet and noticed that it was missing several basic supplies, such as a wound dressing and tape rolls. | 2024-12-21 | 2024-12-22
Slippery in the parking lot | The asphalt of the parking lot was frozen in the morning and several people almost slipped. | 2024-12-06 | 2024-12-07
A pile of snow blocks visibility | The plough truck had left a large pile of snow at the intersection, which blocks the visibility to traffic. | 2024-12-18 | 2024-12-19
Ice on the stairs | There was ice on the outer stairs that had not been sanded. | 2024-12-09 | 2024-12-10
Outdoor lighting in the dark | The outdoor lighting in the parking area did not work, which made the area dark and dangerous. | 2024-12-23 | 2024-12-24
Out of sanding sand | The area near the front doors had run out of sanding sand, even though the weather was slippery. | 2024-12-12 | 2024-12-13
Forklift warning lights broken | The forklift's hazard lights did not work, which makes it difficult to notice others. | 2024-12-16 | 2024-12-17
Emergency exit light in the dark | The emergency exit signal light had gone out and the route could not be seen in the dark. | 2024-12-04 | 2024-12-05
Floor drain clogged | The floor drain in the production facility was clogged and water was collecting on the floor. | 2024-12-26 | 2024-12-27
The smoke alarm beeps | The smoke alarm in the office kept beeping, which interfered with work. | 2024-12-07 | 2024-12-08
Pallet at an angle | On the storage shelf, the pallet was crooked and threatened to tip over. | 2024-12-13 | 2024-12-14
Forklift aisle markings worn out | The markings on the floor of the forklift aisle had worn almost invisible. | 2024-12-20 | 2024-12-21
Ventilation does not work | The ventilation in the meeting room did not work and the air was stuffy. | 2024-12-10 | 2024-12-11
Door pump broken | The door pump of the front door was broken and the door slammed slammed shut. | 2024-12-24 | 2024-12-26
Office chair broken | The back of the office chair was broken and the chair tilted dangerously. | 2024-12-28 | 2024-12-30
Elevator stuck | The freight elevator got stuck between two floors. | 2024-12-25 | 2024-12-26
Poor lighting in the storage area | The lighting in the storage area was insufficient for safe work. | 2024-12-31 | 2024-12-31
Unevenness of the floor | There was an uneven spot on the floor of the production facility that was easy to trip over. | 2024-12-03 | 2024-12-04
Protective equipment is missing | The work site lacked mandatory protective equipment. | 2024-12-11 | 2024-12-12
Chemical container leaks | The lid of the chemical container was loose and the contents had spilled onto the floor. | 2024-12-15 | 2024-12-16
The crane does not work | The warehouse crane did not respond to use and got stuck. | 2024-12-19 | 2024-12-20
Slip marks visible | There was a slip mark on the floor, where the person had clearly slipped. | 2024-12-22 | 2024-12-23
Toolbox open on the floor | The toolbox had been left open in the middle of the corridor. | 2024-12-05 | 2024-12-06
Dust has accumulated in the engine room | A lot of dust had accumulated in the engine room, which is a fire safety risk. | 2024-12-08 | 2024-12-09
Access card left in the reader | The key card had been left in the reader and the door was open. | 2024-12-12 | 2024-12-13
Fire blanket missing | The kitchen lacked a fire blanket, even though it is a must-have. | 2024-12-17 | 2024-12-18
Warning plate knocked over | The warning sign for the wet floor had fallen on the floor. | 2024-12-21 | 2024-12-22
A person was running up the stairs | The person ran down the stairs, carrying the items in both hands. | 2024-12-26 | 2024-12-27
Protective gloves broken | The protective gloves used in the work were broken in several places. | 2024-12-30 | 2024-12-31
The production line stopped abruptly | The production line stopped abruptly without warning. | 2024-12-04 | 2024-12-05
Alarm button untested | The emergency alarm button had not been tested in connection with scheduled maintenance. | 2024-12-09 | 2024-12-10
Gas cylinder without attachment | The gas cylinder stood freely without attachment to the wall. | 2024-12-14 | 2024-12-15
Leak in the compressed air hose | There was a leak in the compressed air hose that caused a strong jet. | 2024-12-18 | 2024-12-19
Floor painting worn out | The safety painting on the floor of the production facility had worn off. | 2024-12-23 | 2024-12-24
The door does not have a window | The door to the production facility does not have a window, which creates a risk of collision. | 2024-12-27 | 2024-12-28

## Kesto
Heading | Observation | observation_date | observation_processed_date
The robotic arm moved unexpectedly | The robotic arm of the assembly department B was activated in the middle of maintenance work without warning. Fortunately, the maintenance man had just left the safety zone. | 2024-01-05 | 2024-01-05
Strong smell of hydraulic oil | There was a strong smell of oil near the hydraulic unit of assembly B. A small leak in the system is suspected. | 2024-01-14 | 2024-01-16
Compressed air condensate on the floor | Condensate had leaked from the discharge valve of the compressed air line in assembly department B onto the floor, creating a slipping hazard. | 2024-01-22 | 2024-01-22
Pallets stacked dangerously high | In the intermediate warehouse of Ward B, the pallets were stacked to a height of more than three metres without a support structure. | 2024-01-29 | 2024-01-31
The temperature sensor displays incorrectly | The temperature sensor in configuration B showed -5°C, even though the room was clearly at normal room temperature. | 2024-02-06 | 2024-02-08
Reduced airflow in the fume cupboard | The airflow in the fume cupboard of compartment B had deteriorated significantly. The smoke test showed insufficient suction power. | 2024-02-13 | 2024-02-15
The roller track gets stuck randomly | The conveyor roller conveyor of assembly B stops randomly for no apparent reason, causing production interruptions. | 2024-02-20 | 2024-02-23
Refrigeration unit door frozen shut | The door of the refrigeration unit of ward B had frozen shut and required a violent opening. | 2024-02-28 | 2024-03-01
Pressure Relief Valve Leak | The pressure relief valve in Assembly Compartment B is leaking and making a hissing noise. | 2024-03-07 | 2024-03-10
Laser cutter safety glasses lost | The safety glasses of the laser workstation in ward B had disappeared and spare glasses were not available. | 2024-03-15 | 2024-03-16
Cart's wheel stuck | One wheel of the transport trolley used in configuration B is jammed and the trolley is running at an angle. | 2024-03-23 | 2024-03-26
Vacuum cleaner overheated | The industrial vacuum cleaner in Ward B shut down due to overheating in the middle of use. | 2024-03-30 | 2024-04-02
Sensor system gives false alarms | The safety sensor system in Configuration B gives repeated false alarms, stopping production. | 2024-04-08 | 2024-04-11
Chemical leakage from a small container | In ward B, a small container of solvent had fallen over and the contents had spilled under the worktop. | 2024-04-16 | 2024-04-16
Lifting rope frayed | The lifting rope of Assembly Detachment B was frayed in several places and required immediate replacement. | 2024-04-24 | 2024-04-27
Condensation dripping from the air conditioning duct | Water drips directly from the ventilation duct of ward B to the workstation. | 2024-05-02 | 2024-05-05
Welding gas cylinder valve leaks | At the welding point of assembly B, the valve of the gas cylinder is leaking noticeably. | 2024-05-10 | 2024-05-11
The roller conveyor causes vibrations | The roller conveyor in ward B causes strong vibrations that can be felt throughout the hall. | 2024-05-18 | 2024-05-22
The warning light does not work | The rotating warning light in Assembly Compartment B no longer works at all. | 2024-05-26 | 2024-05-28
The epoxy on the floor is peeling off | The epoxy coating on the floor of ward B flakes off over large areas, exposing the concrete. | 2024-06-03 | 2024-06-07
Air Force Gun Trigger Stuck | The trigger of the air blow gun used in Assembly B got stuck, causing a continuous jet of air. | 2024-06-11 | 2024-06-12
The electric motor smells like burnt smell | The engine of the conveyor system in ward B smelled of burnt smell during operation. | 2024-06-19 | 2024-06-22
Workwear storage cabinet full | The workwear storage cabinet in assembly department B is full and some of the clothes are on the floor. | 2024-06-27 | 2024-06-29
The water in the emergency shower does not flow | During the testing of the emergency shower in ward B, it was found that the water does not flow at sufficient pressure. | 2024-07-05 | 2024-07-09
Robot cell does not recognize components | The robot cell in configuration B does not recognize the components due to a malfunction in the vision system. | 2024-07-13 | 2024-07-15
Tear in the floor | A tear of about 30 cm has formed in the floor of ward B, which can be tripped over. | 2024-07-21 | 2024-07-24
Leakage of the quick coupling of the compressed air hose | The quick coupling of the compressed air hose in assembly department B is constantly leaking air. | 2024-07-29 | 2024-07-30
Conveyor belt slides | The conveyor belt in compartment B slides over the rollers, causing uneven transport. | 2024-08-06 | 2024-08-09
The workstation lamp flickers | The LED light at the workstation in Configuration B flickers disturbingly. | 2024-08-14 | 2024-08-16
The angle grinder vibrates strongly | The angle grinder in Compartment B vibrates abnormally strongly in use. | 2024-08-22 | 2024-08-25
Air purifier filter clogged | The air purifier filter in Assembly Compartment B is completely clogged with dust. | 2024-08-30 | 2024-09-02
Operating instructions for the lifting device have been lost | The operating instructions for the lifting device of Ward B have disappeared, and it was not possible to familiarize the new person. | 2024-09-07 | 2024-09-09
Underfloor heating does not work | The underfloor heating in Configuration B does not work and the floor is cold. | 2024-09-15 | 2024-09-19
Tool trolley overturned | In ward B, a tool trolley fell over when it was moved on an uneven floor. | 2024-09-23 | 2024-09-24
The pressure gauge shows zero | The pressure gauge on the hydraulic pump in assembly department B shows zero even though the system is running. | 2024-10-01 | 2024-10-04
Torn protective curtain | The protective curtain of the welding point of ward B has torn in several places. | 2024-10-09 | 2024-10-11
Warning tape detached | The warning tape for the hazardous area of Assembly B had come off the floor. | 2024-10-17 | 2024-10-19
Compressed air hose whips | In ward B, the compressed air hose came loose and began to whip dangerously around. | 2024-10-25 | 2024-10-25
Hook safety lock broken | The safety lock on the lifting hook in Assembly Section B no longer works. | 2024-11-02 | 2024-11-05
Workstation suction system blocked | The suction system of the workstation in ward B is clogged and no longer suction at all. | 2024-11-10 | 2024-11-13
The floor drain smells | An unpleasant smell comes from the floor drain in assembly B. | 2024-11-18 | 2024-11-20
The roller track goes too fast | The speed of the roller conveyor in section B has increased and the components fall off easily. | 2024-11-26 | 2024-11-29
Emergency stop circuit does not work | The emergency stop circuit of Assembly Detachment B did not stop the plane during the test. | 2024-12-04 | 2024-12-04
The desk at the workstation wobbles | The desk at the workstation in Ward B wobbles dangerously and threatens to fall over. | 2024-12-12 | 2024-12-15
The compressed air dryer does not work | Assembly B's compressed air dryer is out of order and there is moisture in the air. | 2024-12-20 | 2024-12-23
The conveyor scale shows the wrong | The conveyor scale in section B constantly shows a weight that is 5 kg too light. | 2024-12-28 | 2024-12-31